## RUNOFF
[5 empty] | W | SP | S | F | W | SP | S | F | W | SP | S | F | W | SP | S | F | W | SP | S | F | W | SP | S | F | W | SP | S | F | W | SP | S | F | W | SP | S | F | s | s | F | W | s | s | F | W
OUTFALL No. / LOCATION | PARAMETER | SAMPLE MEASURE UNIT | FREQUENCY / SAMPLE TYPE |  | 12/1/2006 TO 2/28/2007 | 3/1 TO 5/31/2007 | 6/1 TO 8/31/2007 | 9/1 TO 11/30/2007 | 12/1/2007 TO 2/28/2008 | 3/1 TO 5/31/2008 | 6/1 TO 8/31/2008 | 9/1 TO 11/30/2008 | 12/1/2008 TO 2/28/2009 | 3/1 TO 5/31/2009 | 6/1 TO 8/31/2009 | 9/1 TO 11/30/2009 | 12/1/2009 TO 2/28/2010 | 3/1 TO 5/31/2010 | 6/1 TO 8/31/2010 | 9/1 TO 11/30/2010 | 12/1/2010 TO 2/28/2011 | 3/1 TO 5/31/2011 | 6/1 TO 8/31/2011 | 9/1 TO 11/30/2011 | 12/1/2011 TO 2/28/2012 | 3/1 TO 5/31/2012 | 6/1 TO 8/31/2012 | 9/1 TO 11/30/2012 | 12/1/2012 TO 2/28/2013 | 3/1 TO 5/31/2013 | 6/1 TO 8/31/2013 | 9/1 TO 11/30/2013 | 12/1/2013 TO 2/28/2014 | 3/1 TO 5/31/2014 | 6/1 TO 8/31/2014 | 9/1 TO 11/30/2014 | 3/1 TO 5/31/2015 | 6/1 TO 8/31/2015 | 9/1 TO 11/30/2015 | 12/1/2015 TO 2/28/2016 | 3/1 TO 5/31/2016 | 6/1 TO 8/31/2016 | 9/1 TO 11/30/2016 | 12/1/2016 TO 2/28/2017 | 3/1 TO 5/31/2017 | 6/1 TO 8/31/2017 | 9/1 TO 11/30/2017 | 12/1/2017 TO 2/28/2018 | DISCHARGE MONITORING REPORT - STORMWATER RUNOFF
1 - UNIVERSITY & I-630 | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | 11 | 10.56 | 6.18 | 3.8 | 5.4 | 4.5 | 5.3 | 6 | 4.4 | 2 | 2.6 | 3.8 | 3.9 | 5.4 | 6 | 4.5 | 9.2 | 24.4 | 6.3 | 5 | 7 | 5 | 5 | 6 | 3 | 15 | 11 | 6 | 12 | 8 | 8 | 10 | 11 | 4 | 15 | 8 | 4 | 4 | 4 | 0.2 | 3 | 4 | 20 | 4
1 - UNIVERSITY & I-630 | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | 9 | 29.3 | 53.5 | 12 | 25.3 | 24 | 13.3 | 9 | 24.2 | 5.2 | 11.6 | 10 | 31 | 15 | 19 | 30 | 5 | 20 | 12 | 20.4 | 1 | 32 | 25 | 68 | 10 | 192 | 122 | 1 | 29 | 81 | 14 | 2 | 23 | 36 | 41 | 4 | 20 | 20 | 1 | 2 | 1 | 10 | 21 | 3
1 - UNIVERSITY & I-630 | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | 1500 | 3000 | 7900 | 2000 | 1100 | 1000 | 10300 | 1300 | 4800 | 3200 | 500 | 700 | 7400 | 5000 | 2600 | 500 | 1700 | 8000 | 1700 | 3700 | 70 | 1000 | 1 | 399 | 200 | 305 | 2755 | 200 | 50 | 2000 | 350 | 1 | 245 | 103 | 100 | 161 | 250 | 225 | 1350 | 495 | 1800 | 1250 | 870 | 135
2 - 33RD & WHITFIELD | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | 8.574 | 4.356 | 8.94 | 7.27 | 6.1 | 5.95 | 4.8 | 11 | 4 | 3.5 | 3.5 | 5.4 | 2.6 | 4.8 | 38 | 5.2 | 14 | 29 | 9.5 | 5.1 | 4 | 3 | 6 | 9 | 6 | 4 | 6 | 6 | 5 | 12 | 9 | 14 | 3 | 2 | 13 | 8 | 10 | 2 | 3 | 7 | 3 | 6 | 5 | 3
2 - 33RD & WHITFIELD | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | 4 | 3.2 | 61.3 | 9 | 126 | 258 | 74 | 6 | 28.7 | 12.4 | 13.6 | 17 | 32 | 20 | 96 | 112 | 45 | 347 | 23 | 73.6 | 29 | 41 | 28 | 26 | 20 | 23 | 42 | 1 | 35 | 128 | 23 | 16 | 18 | 22 | 17 | 9 | 32 | 9 | 17 | 3 | 4 | 8 | 4 | 10
2 - 33RD & WHITFIELD | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | <100 | 1750 | 4900 | 4900 | 3700 | 1800 | 3600 | 2100 | 1800 | 6600 | 3900 | 1000 | 10900 | 11700 | 2400 | 5100 | 11900 | 16000 | 6100 | 4200 | 316 | 1545 | 1 | 688 | 100 | 880 | 1610 | 10 | 25 | 2400 | 55 | 1130 | 75 | 96 | 86 | 316 | 488 | 100 | 800 | 205 | 1350 | 820 | 290 | 2419
3 - CHENAL PKWY & OAK MEADOW | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | 7.499 | 8.967 | 4.81 | 2.31 | 3.61 | 3.21 | 2.4 | 10 | 2.5 | 2 | 1 | 3 | 5.2 | 1.5 | 6.8 | 7.8 | 13 | 22.5 | 1.7 | 4 | 6 | 8 | 2 | 8 | 2 | 19 | 4 | 4 | 8 | 10 | 9 | 9 | 6 | 2 | 5 | 2 | 3 | 2 | 5 | 4 | 2 | 4 | 3 | 4
3 - CHENAL PKWY & OAK MEADOW | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | 51 | 89 | 2 | 4.5 | 32.7 | 6 | 2.4 | 5 | 24.4 | 12.8 | 4.8 | 24 | 86 | 12.4 | 37 | 16 | 2 | 30 | 32 | 397.3 | 34 | 33 | 34 | 48 | 23 | 180 | 33 | 3 | 123 | 114 | 5 | 29 | 1 | 33 | 8 | 1 | 42 | 4 | 24 | 1 | 3 | 13 | 1 | 134
3 - CHENAL PKWY & OAK MEADOW | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | 300 | 27000 | 8900 | 6150 | 1300 | 1650 | 800 | 500 | 300 | 1200 | 100 | 1300 | 6700 | 4400 | 600 | 3350 | 3000 | 18000 | 1200 | 10600 | 173 | 25 | 1 | 280 | 1 | 250 | 110 | 75 | 500 | 1860 | 195 | 55 | 33 | 73 | 64 | 11 | 56 | 20 | 430 | 40 | 1880 | 75 | 30 | 1
4 - REBSAMEN PARK (CHANGED TO GILLIAM PARK RD. 9/1/2005) | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | 3.054 | 7.385 | NA | NO DISCHARGE | 3.72 | 1.35 | NO DISCHARGE | 7.2 | 3.8 | 2 | 3.2 | 4.3 | 1.4 | NO DISCHARGE | 8.4 | 3.6 | 1.9 | 21.2 | 8.2 | NO DISCHARGE | 7 | 7 | 3 | 4 | 2 | NO DISCHARGE | 10 | NO DISCHARGE | 7 | 5 | 7 | 14 | 4 | 11 | 7 | 11 | 2 | 2 | 3 | 5 | 4 | 3 | NO DISCHARGE | 4
4 - REBSAMEN PARK (CHANGED TO GILLIAM PARK RD. 9/1/2005) | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | 8 | 37 | NA | NO DISCHARGE | 7.33 | 10 | NO DISCHARGE | 23 | 9.2 | 9.3 | 33 | 4.7 | 6.7 | NO DISCHARGE | 16.8 | 22 | 10 | 55.3 | 12.8 | NO DISCHARGE | 1 | 33 | 8 | 17 | 1 | NO DISCHARGE | 78 | NO DISCHARGE | 84 | 1 | 23 | 59 | 61 | 16 | 36 | 13 | 15 | 19 | 4 | 10 | 1 | 16 | NO DISCHARGE | 14
4 - REBSAMEN PARK (CHANGED TO GILLIAM PARK RD. 9/1/2005) | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | 100 | 2800 | NA | NO DISCHARGE | 800 | 200 | NO DISCHARGE | 1800 | 100 | 100 | 3400 | 20 | 3100 | NO DISCHARGE | 5600 | 300 | 1600 | 2900 | 1650 | NO DISCHARGE | 57 | 305 | 1 | 197 | 5 | NO DISCHARGE | 1195 | NO DISCHARGE | 250 | 2400 | 2400 | 145 | 390 | 220 | 196 | 27 | 41 | 75 | 800 | 80 | 75 | 1670 | NO DISCHARGE | 960
5 - 14TH & BOND | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | 8.064 | 8.825 | 13.7 | 8.96 | 5.9 | 2.9 | 7.2 | 5.4 | 2.8 | 3.8 | 7.5 | 3 | 3.6 | 12.4 | 6.4 | 7.3 | 1.9 | 11 | 10.1 | NO DISCHARGE | 6 | 6 | 4 | 8 | 2 | 7 | 4 | 4 | 9 | 16 | 10 | 10 | 6 | 6 | 8 | 7 | 3 | 3 | 5 | 5 | 4 | 3 | 7 | 4
5 - 14TH & BOND | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | 204 | 19.3 | 18 | 5.5 | 17 | 12 | 4.8 | 363 | 74 | 2.7 | 12 | 8 | 29 | 498 | 64 | 130 | 10 | 56 | 11 | NO DISCHARGE | 5 | 3 | 3 | 14 | 26 | 6 | 333 | 10 | 60 | 2 | 5 | 16 | 6 | 9 | 13 | 7 | 40 | 12 | 23 | 18 | 4 | 15 | 15 | 1
5 - 14TH & BOND | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | 100 | 4800 | 6800 | 1600 | 200 | 6600 | 5900 | 1400 | 200 | 1100 | 6000 | 200 | 8000 | 3900 | 8800 | 4400 | 7650 | 6600 | 6300 | NO DISCHARGE | 154 | 1805 | 1 | 244 | 125 | 260 | 60 | 5 | 1000 | 1290 | 1005 | 180 | 610 | 600 | 830 | 82 | 512 | 50 | 1350 | 545 | 110 | 350 | 150 | 770
OUTFALL No. / LOCATION | PARAMETER | SAMPLE MEASURE UNIT | FREQUENCY / SAMPLE TYPE
1 - UNIV. AV. & I-30 | BOD, 5 DAY | MG/L | 1 / 3M | COMP
1 - UNIV. AV. & I-30 | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3M | COMP
1 - UNIV. AV. & I-30 | COLIFORM, FECAL | #/100ML | 1 / 3M | GRAB
2 - 33RD & WHITFIELD | BOD, 5 DAY | MG/L | 1 / 3M | COMP
2 - 33RD & WHITFIELD | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3M | COMP
2 - 33RD & WHITFIELD | COLIFORM, FECAL | #/100ML | 1 / 3M | GRAB
3 - CHENAL PRKWY & OAK MEADOW | BOD, 5 DAY | MG/L | 1 / 3M | COMP
3 - CHENAL PRKWY & OAK MEADOW | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3M | COMP
3 - CHENAL PRKWY & OAK MEADOW | COLIFORM, FECAL | #/100ML | 1 / 3M | GRAB
4 - REBSAMEN PARK RD. | BOD, 5 DAY | MG/L | 1 / 3M | COMP
4 - REBSAMEN PARK RD. | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3M | COMP
4 - REBSAMEN PARK RD. | COLIFORM, FECAL | #/100ML | 1 / 3M | GRAB
5 - 14TH & BOND ST. | BOD, 5 DAY | MG/L | 1 / 3M | COMP
5 - 14TH & BOND ST. | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3M | COMP
5 - 14TH & BOND ST. | COLIFORM, FECAL | #/100ML | 1 / 3M | GRAB
OUTFALL No. / LOCATION | PARAMETER | SAMPLE MEASURE UNIT | FREQUENCY / SAMPLE TYPE |  | F: 12/1/2002 TO 2/28/2003; F: 12/1/2002 TO 2/28/2003; F: 12/1/2002 TO 2/28/2003
1 - UNIV. AV. & I-30 | BOD, 5 DAY | MG/L | 1 / 3M | COMP
1 - UNIV. AV. & I-30 | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3M | COMP
1 - UNIV. AV. & I-30 | OIL & GREASE | MG/L | 1 / 3M | GRAB
1 - UNIV. AV. & I-30 | SOLIDS, TOTAL DISSOLVED | MG/L | 1 / 3M | COMP
1 - UNIV. AV. & I-30 | COLIFORM, FECAL | #/100ML | 1 / 3M | GRAB
2 - 33RD & WHITFIELD | BOD, 5 DAY | MG/L | 1 / 3M | COMP
2 - 33RD & WHITFIELD | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3M | COMP
2 - 33RD & WHITFIELD | OIL & GREASE | MG/L | 1 / 3M | GRAB
2 - 33RD & WHITFIELD | SOLIDS, TOTAL DISSOLVED | MG/L | 1 / 3M | COMP
2 - 33RD & WHITFIELD | COLIFORM, FECAL | #/100ML | 1 / 3M | GRAB
3 - CHENAL PRKWY & OAK MEADOW | BOD, 5 DAY | MG/L | 1 / 3M | COMP
3 - CHENAL PRKWY & OAK MEADOW | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3M | COMP
3 - CHENAL PRKWY & OAK MEADOW | OIL & GREASE | MG/L | 1 / 3M | GRAB
3 - CHENAL PRKWY & OAK MEADOW | SOLIDS, TOTAL DISSOLVED | MG/L | 1 / 3M | COMP
3 - CHENAL PRKWY & OAK MEADOW | COLIFORM, FECAL | #/100ML | 1 / 3M | GRAB
4 - REBSAMEN PARK RD. | BOD, 5 DAY | MG/L | 1 / 3M | COMP
4 - REBSAMEN PARK RD. | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3M | COMP
4 - REBSAMEN PARK RD. | OIL & GREASE | MG/L | 1 / 3M | GRAB
4 - REBSAMEN PARK RD. | SOLIDS, TOTAL DISSOLVED | MG/L | 1 / 3M | COMP
4 - REBSAMEN PARK RD. | COLIFORM, FECAL | #/100ML | 1 / 3M | GRAB
5 - 14TH & BOND ST. | BOD, 5 DAY | MG/L | 1 / 3M | COMP
5 - 14TH & BOND ST. | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3M | COMP
5 - 14TH & BOND ST. | OIL & GREASE | MG/L | 1 / 3M | GRAB
5 - 14TH & BOND ST. | SOLIDS, TOTAL DISSOLVED | MG/L | 1 / 3M | COMP
5 - 14TH & BOND ST. | COLIFORM, FECAL | #/100ML | 1 / 3M | GRAB
ITEM REPORTED CHANGED FROM COLIFORM, FECAL AFTER 8/31/2005
No Values Reported - No Discharge 8/2007 & 11/2007 For Outfall # 4
No Values Reported - No Discharge 8/2007 & 11/2007 For Outfall # 4
No Values Reported - No Discharge 8/2007 & 11/2007 For Outfall # 4
No Values Reported - No Discharge 8/2008 For Outfall # 4
No Values Reported - No Discharge 8/2008 For Outfall # 4
No Values Reported - No Discharge 8/2008 For Outfall # 4
No Values Reported - No Discharge 8/2010 For Outfall # 4
No Values Reported - No Discharge 8/2010 For Outfall # 4
No Values Reported - No Discharge 8/2010 For Outfall # 4
No Values Reported - No Discharge 8/2013 For Outfall # 4
No Values Reported - No Discharge 8/2013 For Outfall # 4
No Values Reported - No Discharge 8/2013 For Outfall # 4