## RUNOFF
DISCHARGE MONITORING REPORT - QUARTERLY STORMWATER RUNOFF; OUTFALL 1 - 5 |  |  |  |  | F | F | F | F | F | F | F | F | F
OUTFALL No. / LOCATION | PARAMETER | SAMPLE MEASURE UNIT | FREQUENCY / SAMPLE TYPE |  | 9/1 TO 11/30/2007 | 9/1 TO 11/30/2008 | 9/1 TO 11/30/2009 | 9/1 TO 11/30/2010 | 9/1 TO 11/30/2011 | 9/1 TO 11/30/2012 | 9/1 TO 11/30/2013 | 9/1 TO 11/30/2014 | 9/1 TO 11/30/2015 | 9/1 TO 11/30/2016 | 9/1 TO 11/30/2017 | FALL DISCHARGE MONITORING REPORT - STORMWATER RUNOFF
1 - UNIVERSITY & I-630 | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | 3.8 | 6 | 3.2 | 6 | 6.3 | 5 | 11 | 8 | 15 | 4 | 20
1 - UNIVERSITY & I-630 | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | 12 | 9 | 360 | 19 | 12 | 25 | 122 | 14 | 41 | 1 | 21
1 - UNIVERSITY & I-630 | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | 2000 | 1300 | 5100 | 2600 | 1700 | 1 | 2755 | 350 | 100 | 1350 | 870
2 - 33RD & WHITFIELD | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | 7.27 | 11 | 10.3 | 38 | 9.5 | 6 | 6 | 9 | 13 | 3 | 5
2 - 33RD & WHITFIELD | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | 9 | 6 | 66 | 96 | 23 | 28 | 42 | 23 | 17 | 17 | 4
2 - 33RD & WHITFIELD | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | 4900 | 2100 | 8100 | 2400 | 6100 | 1 | 1610 | 55 | 86 | 800 | 290
3 - CHENAL PKWY & OAK MEADOW | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | 2.31 | 10 | 5.1 | 6.8 | 1.7 | 2 | 4 | 9 | 5 | 5 | 3
3 - CHENAL PKWY & OAK MEADOW | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | 4.5 | 5 | 6.8 | 37 | 32 | 34 | 33 | 5 | 8 | 24 | 1
3 - CHENAL PKWY & OAK MEADOW | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | 6150 | 500 | 2900 | 600 | 1200 | 1 | 110 | 195 | 64 | 430 | 30
4 - REBSAMEN PARK (CHANGED TO GILLIAM PARK RD. 9/1/2005) | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | NO DISCHARGE | 7.2 | 1 | 8.4 | 8.2 | 3 | 10 | 7 | 7 | 3 | NO DISCHARGE
4 - REBSAMEN PARK (CHANGED TO GILLIAM PARK RD. 9/1/2005) | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | NO DISCHARGE | 23 | 9.6 | 16.8 | 12.8 | 8 | 78 | 23 | 36 | 4 | NO DISCHARGE
4 - REBSAMEN PARK (CHANGED TO GILLIAM PARK RD. 9/1/2005) | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | NO DISCHARGE | 1800 | 1200 | 5600 | 1650 | 1 | 1195 | 2400 | 196 | 800 | NO DISCHARGE
5 - 14TH & BOND | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | 8.96 | 5.4 | 4.1 | 6.4 | 10.1 | 4 | 4 | 10 | 8 | 5 | 7
5 - 14TH & BOND | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | 5.5 | 363 | 9.6 | 64 | 11 | 3 | 333 | 5 | 13 | 23 | 15
5 - 14TH & BOND | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | 1600 | 1400 | 6000 | 8800 | 6300 | 1 | 60 | 1005 | 830 | 1350 | 150
OUTFALL No. / LOCATION | PARAMETER | SAMPLE MEASURE UNIT | FREQUENCY / SAMPLE TYPE
1 - UNIVERSITY & I-630 | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB
1 - UNIVERSITY & I-630 | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB
1 - UNIVERSITY & I-630 | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB
2 - 33RD & WHITFIELD | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB
2 - 33RD & WHITFIELD | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB
2 - 33RD & WHITFIELD | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB
3 - CHENAL PKWY & OAK MEADOW | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB
3 - CHENAL PKWY & OAK MEADOW | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB
3 - CHENAL PKWY & OAK MEADOW | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB
4 - REBSAMEN PARK (CHANGED TO GILLIAM PARK RD. 9/1/2005) | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB
4 - REBSAMEN PARK (CHANGED TO GILLIAM PARK RD. 9/1/2005) | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB
4 - REBSAMEN PARK (CHANGED TO GILLIAM PARK RD. 9/1/2005) | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB
5 - 14TH & BOND | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB
5 - 14TH & BOND | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB
5 - 14TH & BOND | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB
ITEM CHANGED FROM COLIFORM, FECAL AFTER 8/31/2006