## RUNOFF
DISCHARGE MONITORING REPORT - QUARTERLY STORMWATER RUNOFF; OUTFALL 1 - 5 |  |  |  |  | s | s | s | s | s | s | s | s | s | s | s
OUTFALL No. / LOCATION | PARAMETER | SAMPLE MEASURE UNIT | FREQUENCY / SAMPLE TYPE |  | 6/1 TO 8/31/2007 | 6/1 TO 8/31/2008 | 6/1 TO 8/31/2009 | 6/1 TO 8/31/2010 | 6/1 TO 8/31/2011 | 6/1 TO 8/31/2012 | 6/1 TO 8/31/2013 | 6/1 TO 8/31/2014 | 6/1 TO 8/31/2015 | 6/1 TO 8/31/2016 | 12/1/2017 TO 2/28/2018 | SUMMER DISCHARGE MONITORING REPORT - STORMWATER RUNOFF
1 - UNIVERSITY & I-630 | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | 6.18 | 5.3 | 2.6 | 5.4 | 24.4 | 5 | 15 | 8 | 4 | 4 | 4
1 - UNIVERSITY & I-630 | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | 53.5 | 13.3 | 11.6 | 15 | 20 | 32 | 192 | 81 | 36 | 20 | 10
1 - UNIVERSITY & I-630 | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | 7900 | 10300 | 500 | 5000 | 8000 | 1000 | 305 | 2000 | 103 | 225 | 1250
2 - 33RD & WHITFIELD | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | 8.94 | 4.8 | 3.5 | 4.8 | 29 | 3 | 4 | 12 | 2 | 2 | 6
2 - 33RD & WHITFIELD | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | 61.3 | 74 | 13.6 | 20 | 347 | 41 | 23 | 128 | 22 | 9 | 8
2 - 33RD & WHITFIELD | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | 4900 | 3600 | 3900 | 11700 | 16000 | 1545 | 880 | 2400 | 96 | 100 | 820
3 - CHENAL PKWY & OAK MEADOW | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | 4.81 | 2.4 | 1 | 1.5 | 22.5 | 8 | 19 | 10 | 2 | 2 | 4
3 - CHENAL PKWY & OAK MEADOW | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | 2 | 2.4 | 4.8 | 12.4 | 30 | 33 | 180 | 114 | 33 | 4 | 13
3 - CHENAL PKWY & OAK MEADOW | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | 8900 | 800 | 100 | 4400 | 18000 | 25 | 250 | 1860 | 73 | 20 | 75
4 - REBSAMEN PARK (CHANGED TO GILLIAM PARK RD. 9/1/2005) | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | NA | NO DISCHARGE | 3.2 | NO DISCHARGE | 21.2 | 7 | NO DISCHARGE | 5 | 11 | 2 | 3
4 - REBSAMEN PARK (CHANGED TO GILLIAM PARK RD. 9/1/2005) | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | NA | NO DISCHARGE | 33 | NO DISCHARGE | 55.3 | 33 | NO DISCHARGE | 1 | 16 | 19 | 16
4 - REBSAMEN PARK (CHANGED TO GILLIAM PARK RD. 9/1/2005) | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | NA | NO DISCHARGE | 3400 | NO DISCHARGE | 2900 | 305 | NO DISCHARGE | 2400 | 220 | 75 | 1670
5 - 14TH & BOND | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | 13.7 | 7.2 | 7.5 | 12.4 | 11 | 6 | 7 | 16 | 6 | 3 | 3
5 - 14TH & BOND | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | 18 | 4.8 | 12 | 498 | 56 | 3 | 6 | 2 | 9 | 12 | 15
5 - 14TH & BOND | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | 6800 | 5900 | 6000 | 3900 | 6600 | 1805 | 260 | 1290 | 600 | 50 | 350
OUTFALL No. / LOCATION | PARAMETER | SAMPLE MEASURE UNIT | FREQUENCY / SAMPLE TYPE
1 - UNIVERSITY & I-630 | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB
1 - UNIVERSITY & I-630 | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB
1 - UNIVERSITY & I-630 | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB
2 - 33RD & WHITFIELD | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB
2 - 33RD & WHITFIELD | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB
2 - 33RD & WHITFIELD | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB
3 - CHENAL PKWY & OAK MEADOW | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB
3 - CHENAL PKWY & OAK MEADOW | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB
3 - CHENAL PKWY & OAK MEADOW | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB
4 - REBSAMEN PARK (CHANGED TO GILLIAM PARK RD. 9/1/2005) | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB
4 - REBSAMEN PARK (CHANGED TO GILLIAM PARK RD. 9/1/2005) | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB
4 - REBSAMEN PARK (CHANGED TO GILLIAM PARK RD. 9/1/2005) | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB
5 - 14TH & BOND | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB
5 - 14TH & BOND | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB
5 - 14TH & BOND | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB
ITEM CHANGED FROM COLIFORM, FECAL 8/31/2005
No Values Reported - No Discharge This Period for Outfall # 4
No Values Reported - No Discharge This Period for Outfall #4
No Values Reported - No Discharge This Period for Outfall # 4
No Values Reported - No Discharge This Period for Outfall #4
No Values Reported - No Discharge This Period for Outfall #4
No Values Reported - No Discharge This Period for Outfall #4