## RUNOFF
DISCHARGE MONITORING REPORT - QUARTERLY STORMWATER RUNOFF; OUTFALL 1 - 5 |  |  |  |  | w | w | w | w | w | w | w | w | w | w | W | W
OUTFALL No. / LOCATION | PARAMETER | SAMPLE MEASURE UNIT | FREQUENCY / SAMPLE TYPE |  | 12/1/2006 TO 2/28/2007 | 12/1/2007 TO 2/28/2008 | 12/1/2008 TO 2/28/2009 | 12/1/2009 TO 2/28/2010 | 12/1/2010 TO 2/28/2011 | 12/1/2011 TO 2/28/2012 | 12/1/2012 TO 2/28/2013 | 12/1/2013 TO 2/28/2014 | 12/1/2014 TO 2/28/2015 | 12/1/2015 TO 2/28/2016 | 12/1/2016 TO 2/28/2017 | 12/1/2017 TO 2/28/2018 | WINTER DISCHARGE MONITORING REPORT - STORMWATER RUNOFF
1 - UNIVERSITY & I-630 | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | 11 | 5.4 | 4.4 | 3.8 | 4.5 | 5 | 6 | 6 | 10 | 8 | 0.2 | 4
1 - UNIVERSITY & I-630 | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | 9 | 25.3 | 24.2 | 10 | 30 | 20.4 | 68 | 1 | 2 | 4 | 2 | 3
1 - UNIVERSITY & I-630 | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | 1500 | 1100 | 4800 | 700 | 500 | 3700 | 399 | 200 | 1 | 161 | 495 | 135
2 - 33RD & WHITFIELD | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | 8.574 | 6.1 | 4 | 5.4 | 5.2 | 5.1 | 9 | 6 | 14 | 8 | 7 | 3
2 - 33RD & WHITFIELD | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | 4 | 126 | 28.7 | 17 | 112 | 73.6 | 26 | 1 | 16 | 9 | 3 | 10
2 - 33RD & WHITFIELD | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | <100 | 3700 | 1800 | 1000 | 5100 | 4200 | 688 | 10 | 1130 | 316 | 205 | 2419
3 - CHENAL PKWY & OAK MEADOW | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | 7.499 | 3.61 | 2.5 | 3 | 7.8 | 4 | 8 | 4 | 9 | 2 | 4 | 4
3 - CHENAL PKWY & OAK MEADOW | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | 51 | 32.7 | 24.4 | 24 | 16 | 397.3 | 48 | 3 | 29 | 1 | 1 | 134
3 - CHENAL PKWY & OAK MEADOW | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | 300 | 1300 | 300 | 1300 | 3350 | 10600 | 280 | 75 | 55 | 11 | 40 | 1
4 - REBSAMEN PARK (CHANGED TO GILLIAM PARK RD. 9/1/2005) | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | 3.054 | 3.72 | 3.8 | 4.3 | 3.6 | NO DISCHARGE | 4 | NO DISCHARGE | 14 | 11 | 5 | 4
4 - REBSAMEN PARK (CHANGED TO GILLIAM PARK RD. 9/1/2005) | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | 8 | 7.33 | 9.2 | 4.7 | 22 | NO DISCHARGE | 17 | NO DISCHARGE | 59 | 13 | 10 | 14
4 - REBSAMEN PARK (CHANGED TO GILLIAM PARK RD. 9/1/2005) | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | 100 | 800 | 100 | 20 | 300 | NO DISCHARGE | 197 | NO DISCHARGE | 145 | 27 | 80 | 960
5 - 14TH & BOND | BOD, 5 DAY | MG/L | 1 / 3 MO. | COMP/GRAB | 8.064 | 5.9 | 2.8 | 3 | 7.3 | NO DISCHARGE | 8 | 4 | 10 | 7 | 5 | 4
5 - 14TH & BOND | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3 MO. | COMP/GRAB | 204 | 17 | 74 | 8 | 130 | NO DISCHARGE | 14 | 10 | 16 | 7 | 18 | 1
5 - 14TH & BOND | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3 MO. | GRAB | 100 | 200 | 200 | 200 | 4400 | NO DISCHARGE | 244 | 5 | 180 | 82 | 545 | 770
THIS ITEM CHANGED FROM COLIFORM, FECAL AFTER 8/31/2005.
NO DISCHARGE OUTFALL 4 & 5 THIS PERIOD
NO DISCHARGE OUTFALL 4 & 5 THIS PERIOD
NO DISCHARGE OUTFALL 4 & 5 THIS PERIOD
NO DISCHARGE OUTFALL 4 THIS PERIOD
NO DISCHARGE OUTFALL 4 THIS PERIOD
NO DISCHARGE OUTFALL 4 THIS PERIOD