## RUNOFF
OUTFALL No. / LOCATION | PARAMETER | SAMPLE MEASURE UNIT | FREQUENCY / SAMPLE TYPE |  | 3/1 TO 5/31/2007 | 6/1 TO 8/31/2007 | 9/1 TO 11/30/2007 | 12/1/2007 TO 2/28/2008 | 3/1 TO 5/31/2008 | 6/1 TO 8/31/2008 | 9/1 TO 11/30/2008 | 12/1/2008 TO 2/28/2009 | 3/1 TO 5/31/2009 | 6/1 TO 8/31/2009 | 12/1/2009 TO 2/28/2010 | 3/1 TO 5/31/2010 | 6/1 TO 8/31/2010 | 9/1 TO 11/30/2010 | 12/1/2010 TO 2/28/2011 | 3/1 TO 5/31/2011 | 6/1 TO 8/31/2011 | 9/1 TO 11/30/2011 | 12/1/2011 TO 2/28/2012 | 3/1 TO 5/31/2012 | 6/1 TO 8/31/2012 | 9/1 TO 11/30/2012 | 12/1/2012 TO 2/28/2013 | 3/1 TO 5/31/2013 | 6/1 TO 8/31/2013 | 9/1 TO 11/30/2013 | 12/1/2013 TO 2/28/2014 | 3/1 TO 5/31/2014 | 6/1 TO 8/31/2014 | 9/1 TO 11/30/2014 | 12/1/2014 TO 2/28/2015 | 3/1 TO 5/31/2015 | 6/1 TO 8/31/2015 | 9/1 TO 11/30/2015 | 12/1/2015 TO 2/28/2016 | 3/1 TO 5/31/2016 | 6/1 TO 8/31/2016 | 9/1 TO 11/30/2016 | 12/1/2016 TO 2/28/2017 | 3/1 TO 5/31/2017 | 6/1 TO 8/31/2017 | 9/1 TO 11/30/2017 | 12/1/2017 TO 2/28/2018
2 - 33RD & WHITFIELD | BOD, 5 DAY | MG/L | 1 / 3M | COMP | 4.356 | 8.94 | 7.27 | 6.1 | 5.95 | 4.8 | 11 | 4 | 3.5 | 3.5 | 5.4 | 2.6 | 4.8 | 38 | 5.2 | 14 | 29 | 9.5 | 5.1 | 4 | 3 | 6 | 9 | 6 | 4 | 6 | 6 | 5 | 12 | 9 | 14 | 3 | 2 | 13 | 8 | 10 | 2 | 3 | 7 | 3 | 6 | 5 | 3
2 - 33RD & WHITFIELD | PH | SU | 1 / 3M | GRAB | 6.73 | 6.53 | 6.51 | 6.53 | 6.27 | 6.53 | 7.31 | 6.81 | 6.92 | 6.86 | 7.2 | 6.93 | 7.16 | 7.31 | 6.85 | 6.47 | 6.24 | 6.28 | 6.7 | 7.3 | 6.5 | 7.8 | 7.3 | 9.4 | 7.5 | 7.3 | 8.5 | 7 | 6.8 | 7.1 | 6.8 | 6.8 | 7.8 | 7.2 | 6.4 | 7.1 | 7.2 | 10.4 | 7.4 | 7.1 | 6.7 | 7.3 | 6.6
2 - 33RD & WHITFIELD | SOLIDS, TOTAL SUSPENDED | MG/L | 1 / 3M | COMP | 3.2 | 61.3 | 9 | 126 | 258 | 74 | 6 | 28.7 | 12.4 | 13.6 | 17 | 32 | 20 | 96 | 112 | 45 | 347 | 23 | 73.6 | 29 | 41 | 28 | 26 | 20 | 23 | 42 | 1 | 35 | 128 | 23 | 16 | 18 | 22 | 17 | 9 | 32 | 9 | 17 | 3 | 4 | 8 | 4 | 10
2 - 33RD & WHITFIELD | OIL & GREASE | MG/L | 1 / 3M | GRAB | 0.4 | 0.1 | 0.5 | 0.2 | 0.5 | 0.3 | 0.1 | 1.5 | 0.7 | 0.4 | 3.9 | 2.4 | 0.9 | 2.7 | 0.4 | 0.5 | 1.3 | 0.5 | 0.7 | 1.4 | 2.1 | 1.4 | 1.4 | 2.6 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 2.1 | 1.4 | 2.4 | 1.8 | 1.4 | 3.8 | 4.6 | 7.1 | 1.4 | 2.1
2 - 33RD & WHITFIELD | NITROGEN, TOTAL | MG/L | 1 / 3M | COMP | 0.773 | 0.72 | 2.32 | 2.39 | 1.3 | 1.87 | 1.465 | 1.49 | 1.01 | 1.2 | 0.875 | 1.1 | 1.88 | 8.93 | 2 | 0.74 | 1.95 | 2.47 | 1.26 | 0.65 | 2.08 | 0.88 | 0.69 | 1.54 | 1.12 | 1.96 | 0.72 | 0.34 | 1.17 | 0.97 | 0.59 | 0.65 | 0.45 | 0.62 | 0.78 | 0.71 | 0.85 | 1.08 | 0.36 | 0.54 | 0.49 | 0.2 | 0.76
2 - 33RD & WHITFIELD | NITROGEN, KJELDAHL | MG/L | 1 / 3M | COMP | 0.1 | 1 | 2.07 | 1 | 0.24 | 2.38 | 0.5 | 0.22 | 0.51 | 0.37 | 0.596 | 0.04 | 0.015 | 0.342 | 1.083 | 0.174 | 0.05 | 0.48 | 0.04 | 0.65 | 1.84 | 0.82 | 0.64 | 0.48 | 0.81 | 0.47
2 - 33RD & WHITFIELD | PHOSPHORUS, DISSOLVED | MG/L | 1 / 3M | COMP | 0.064 | 0.89 | 0.1 | 0.16 | 0.3 | 1 | 0.898 | 0.8 | 1 | 1.4 | 0.93 | 0.6 | 0.4 | 0.8 | 0.2 | 0.12 | 0.4 | 0.3 | 0.92 | 0.1 | 0.1 | 0.13 | 0.17 | 0.11 | 0.2 | 0.5 | 0.03 | 0.38 | 0.23 | 0.19 | 0.15 | 0.22 | 0.19 | 0.28 | 0.05 | 0.05 | 0.05 | 0.13 | 0.05 | 0.05 | 0.13 | 0.09 | 0.08
2 - 33RD & WHITFIELD | HARDNESS (CACO3) TOTAL | MG/L | 1 / 3M | COMP | 4.08 | 1.94 | 0.93 | 9.16 | 30 | 33.6 | 3.64 | 26 | 34 | 30 | 36 | 24 | 54 | 40 | 28 | 36 | 26 | 25 | 11.5 | 20 | 24 | 20 | 50 | 44 | 8 | 40 | 36 | 80 | 52 | 28 | 60 | 44 | 24 | 20 | 34 | 2 | 176 | 14 | 96 | 36 | 60 | 88 | 68
2 - 33RD & WHITFIELD | SELENIUM, TOTAL RECOVERABLE (LAST REPORTED 8/31/2005) | UG/L | 1 / 3M | COMP
2 - 33RD & WHITFIELD | BERYLLIUM, (BE) TOTAL RECOVERABLE (LAST REPORTED 8/31/2005) | UG/L | 1 / 3M | COMP
2 - 33RD & WHITFIELD | NICKEL, TOTAL RECOVERABLE (LAST REPORTED 8/31/2005) | UG/L | 1 / 3M | COMP
2 - 33RD & WHITFIELD | SILVER, TOTAL RECOVERABLE | UG/L | 1 / 3M | COMP | 0.001 | 0.001 | 1 | 1 | 1 | 1 | 0.2 | 0.1 | 6.8 | 0.2 | 0.1 | 0.2 | 0.1 | 0.1 | 0.12 | 0.1 | 0.1 | 0.1 | 0.1 | 0.5 | 5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 6 | 0.5 | 2 | 0.5 | 1 | 0.5 | 41 | 15.2 | 3 | 8 | 0.5 | 0.5 | 4 | 0.5
2 - 33RD & WHITFIELD | ZINC, TOTAL RECOVERABLE | UG/L | 1 / 3M | COMP | 0.035 | 0.026 | 25.3 | 23 | 33.6 | 15.1 | 18.4 | 20.3 | 25.9 | 19.5 | 22.3 | 32.9 | 54.6 | 98.1 | 45.1 | 43.6 | 117 | 17.9 | 31 | 106.7 | 13 | 29.2 | 0.5 | 1 | 1 | 1 | 1 | 1 | 19 | 1 | 17 | 1 | 1 | 1 | 1 | 32 | 1 | 9 | 6 | 17 | 50.7 | 24 | 15.3
2 - 33RD & WHITFIELD | CADMIUM, TOTAL RECOVERABLE | UG/L | 1 / 3M | COMP | 0.014 | 0.001 | 1 | 1 | 1 | 1 | 0.2 | 0.1 | 0.107 | 0.2 | 0.437 | 0.63 | 1.9 | 4.7 | 0.47 | 11.5 | 0.1 | 0.1 | 2.57 | 0.1 | 0.1 | 0.1 | 0.5 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 7 | 0.1 | 1 | 0.1 | 0.1 | 3.3 | 0.1 | 0.1 | 2 | 3 | 4 | 1 | 0.3 | 0.1
2 - 33RD & WHITFIELD | LEAD, TOTAL RECOVERABLE | UG/L | 1 / 3M | COMP | 0.001 | 0.004 | 2.3 | 5.73 | 8 | 3.7 | 2.53 | 3.5 | 1.9 | 2.74 | 3.4 | 16.7 | 3.15 | 34.8 | 0.1 | 8.72 | 14.7 | 1.94 | 21.2 | 4.81 | 2.6 | 8.4 | 0.5 | 195 | 0.5 | 13 | 0.5 | 10 | 3 | 0.5 | 4 | 2 | 0.5 | 3.7 | 0.5 | 40 | 13.95 | 10 | 0.5 | 8 | 0.5 | 1 | 0.5
2 - 33RD & WHITFIELD | CHROMIUM, TOTAL RECOVERABLE (LAST REPORTED 8/31/2005) | UG/L | 1 / 3M | COMP
2 - 33RD & WHITFIELD | COPPER, TOTAL RECOVERABLE | UG/L | 1 / 3M | COMP | 0.023 | 0.01 | 3.9 | 7.14 | 12.9 | 13.9 | 11.2 | 10.6 | 19.9 | 13.5 | 10.7 | 8.5 | 10.02 | 64.5 | 25.6 | 16.3 | 14.8 | 5.3 | 6.18 | 47.68 | 3.6 | 126 | 0.5 | 32 | 0.5 | 1 | 0.5 | 17 | 2 | 8 | 3 | 0.5 | 6 | 1 | 0.5 | 0.5 | 4.59 | 1 | 9 | 4 | 9.3 | 3 | 4.3
2 - 33RD & WHITFIELD | FLOW IN CONDUIT / THRU TREAT. PLANT | MGD | 1 / 3M | INST | 0.107 | 1.615 | 1.62 | 3.45 | 2.584 | 0.808 | 0.336 | 7.791 | 6.454 | 0.969 | 1.291 | 2.584 | 0.969 | 0.162 | 11.678 | 2.907 | 19.38 | 1.131 | 3.012 | 0.018008 | 0.009878 | 0.003456 | 0.007848 | 0.8264 | 0.7609 | 0.1296 | 0.02016 | 0.003456 | 0.0864 | 0.0216 | 0.00288 | 0.2448 | 0.5 | 0.0072 | 0.0108 | 0.004795 | 0.551 | 0.00864 | 0.007848 | 1.632 | 0.1995 | 0.00576 | 0.00432
2 - 33RD & WHITFIELD | SOLIDS, TOTAL DISSOLVED | MG/L | 1 / 3M | COMP | 39 | 89 | 96 | 56 | 47 | 149 | 74 | 102 | 61 | 77 | 87 | 101 | 104 | 176 | 149 | 97 | 524 | 100 | 210 | 82 | 41 | 98 | 198 | 94 | 99 | 28 | 102 | 10 | 44 | 76 | 62 | 80 | 70 | 88 | 68 | 118 | 70 | 56 | 84 | 108 | 12 | 32 | 28
2 - 33RD & WHITFIELD | MERCURY, TOTAL RECOVERABLE (LAST REPORTED 8/31/2005) | UG/L | 1 / 3M | COMP
2 - 33RD & WHITFIELD | STREPTOCOCCI, FECAL MATERIAL | #/100ML | 1 / 3M | GRAB | 300 | 3800 | 3800 | 6100 | 1900 | 1900 | 2000 | 5900 | 1800 | 3100 | 2200 | 8800 | 11100 | 8300 | 6900 | 10300 | 20000 | 13600 | 6700 | 336 | 1580 | 1 | 522 | 300 | 1267 | 1730 | 5 | 65 | 3600 | 75 | 1210 | 50 | 148 | 98 | 269 | 396 | 60 | 900 | 195 | 2250 | 800 | 260 | 450
2 - 33RD & WHITFIELD | E.COLI (CHANGED FROM COLIFORM, FECAL 8/31/2005) | #/100ML | 1 / 3M | GRAB | 1750 | 4900 | 4900 | 3700 | 1800 | 3600 | 2100 | 1800 | 6600 | 3900 | 1000 | 10900 | 11700 | 2400 | 5100 | 11900 | 16000 | 6100 | 4200 | 316 | 1545 | 1 | 688 | 100 | 880 | 1610 | 10 | 25 | 2400 | 55 | 1130 | 75 | 96 | 86 | 316 | 488 | 100 | 800 | 205 | 1350 | 820 | 290 | 2419
2 - 33RD & WHITFIELD | CYANIDE, TOTAL (LAST REPORTED 8/31/2005) | UG/L | 1 / 3M | COMP
2 - 33RD & WHITFIELD | BOD, CARBONACEOUS 5 DAY | MG/L | 1 / 3M | COMP | 4.356 | 6.86 | 6.69 | 8.42 | 6.95 | 4 | 11.5 | 3.8 | 2.1 | 2.6 | 4.3 | 4.2 | 3.4 | 36 | 1.7 | 11.1 | 33.1 | 8.5 | 5.9 | 2 | 2 | 2 | 6 | 4 | 3 | 3
2 - 33RD ST. & WHITFIELD ST.
LAST REPORT FOR THIS ITEM DONE 6/1 TO 8/31/2005
LAST REPORT FOR THIS ITEM DONE 6/1 TO 8/31/2005
LAST REPORT FOR THIS ITEM DONE 6/1 TO 8/31/2005
LAST REPORT FOR THIS ITEM DONE 6/1 TO 8/31/2005
LAST REPORT FOR THIS ITEM DONE 6/1 TO 8/31/2005
LAST REPORT FOR THIS ITEM DONE 6/1 TO 8/31/2005
CHANGED FROM COLIFORM, FECAL AFTER 8/31/2005
LAST REPORT FOR THIS ITEM DONE 11/30/2013
LAST REPORT FOR THIS ITEM DONE 11/30/2013